## Sheet1
Name | Input(X) | Simulation | Experiment | Network | Output(y) | Loss | Performance |  |  |  | Comparation | Speed | Application | Parameters
[7 empty] | Recall/Precision | Error(w.r.t. CRLB) | Robustness | Resolution |  |  |  | parameters
DeepStorm | whole inage 28*28 (batch) | Gaussian PSF with tunable SNR, sigma | Summed sparse QDs | Encoder-decoder | 208*208 subpixel superresolved | L1+L2 | 96%/98.4%(88%/91.3% trained on simulation) | NMSE:37%(72%CEL0) | density mismatch of∼2 emitter/μm2 | 67 nm(FWHM) | CEL0 fitting algorithm | #VALUE! |  | 436K\612K
Information-rich | single molecule image PSF(unmodified) | Gibson-Lanni model(color) with different background/Photons | Different color beads; step-scanning z calibration | ANN->ANN | 2-color seperation -> z detection | cross-entropy(color), L2(position) | Accuracy: 88%(3000photon/10bg); | std: 20-40nm(red fluorescent bead) | 没有给出与训练集不同的测试集的数据 |  | 三维样条函数MLE估计 |  | microtubules and the outer membrane of mitochondria in adherent COS-7 cells with two STORM dyes, CF568 and Alexa Fluor 647 (AF647)
DeepLoco | whole image | uniform sampling in box | empirically measured PSF with multiple Z-stacks of diﬀerent fluorophores | CNN->ResNet(比较随意) | coordinates(2D/3D) | Laplacian kernel at a diﬀerent scale | (Jaccard index)0.84 ±0.30/0.39 ±0.19(dense) | NMSE:x-17.25 ±13.52nm/z-22.35 ±16.71 | 对PSF有鲁棒性 |  | 2016 SMLM | 20000 frames/sec | -
Three-dimensional localization 2018 | single molecule image PSF(unmodified) | 10000 emitters z: −1.3~0.1µm; x/y: ±500 nm with bg and signal; Phase Retrieval method for PSF | Not as training. Used beads as validation | CNN | (x,y,z,bg,N) | L1
DeepSTORM3D | Image with overlapping PSF(unmodified) | PSF phase mask | Nope | 多尺度增强-上采样(xy)-检测(z)+Phase mask learning | 3d position(on super-resolved 3D voxel grid) + optimal PSF | L2+Overlap Loss | 57/62(2FP) |  |  | ≈40/50nm(xy/z) | Normal PSF and Tetrapod PSF |  | telomeres in U2OS cell/
DECODE(DEepCOntextDEpendent)
ANNA-PALM 2018 | Widefield+Downsampled PALM | Nope | PALM | ANN+两个小网络 | Full PALM image | 三个loss混合
Multicolor 2019 | single molecule image PSF | 圆孔函数的傅立叶变换 |  | MatConvNet package | color(best PSF) | cross-entropy；